## Sheet1
82 | STW | WORD
84 | set_on | BOOL
86 | SetFrequ | REAL
90 | ActFrequ | REAL
98 | Speed | REAL
102 | Current | REAL
106 | Torque | REAL
110 | FaultCode | UINT
112 | WarnCode | UINT
114 | local | BOOL
116 | tracking | BOOL
116.1 | UPS | BOOL
116.2 | WindSensor_damaged | BOOL
116.3 | TiltSensor_damaged | BOOL
116.4 | troubleshoot | BOOL
118 | stop | BOOL
120 | maintenance | BOOL
120.1 | ups | BOOL
120.2 | WindSensor_damaged | BOOL
120.3 | TiltSensor_damaged | BOOL
122 | safety | BOOL
122.1 | ups | BOOL
122.2 | WindSensor_damaged | BOOL
122.3 | TiltSensor_damaged | BOOL
124 | nSoftOM | USINT
126 | xDoorOpen | BOOL
126.1 | xUPSact | BOOL
126.2 | xRemote | BOOL
126.3 | xDigIn4 | BOOL
126.4 | xFault | BOOL
126.5 | xWarning | BOOL
128 | errorcode | UINT
130 | warningcode | UINT
133 | sensor1_damanged | BOOL
133.1 | sensor2_damanged | BOOL
134 | phi1 | REAL
138 | phi2 | REAL
142 | twist_angle | REAL
154 | sensor1_offset | REAL
158 | sensor2_offset | REAL
162 | STW | WORD
164 | set_on | BOOL
166 | SetFrequ | REAL
170 | ActFrequ | REAL
178 | Speed | REAL
182 | Current | REAL
186 | Torque | REAL
190 | FaultCode | UINT
192 | WarnCode | UINT
194 | local | BOOL
196 | tracking | BOOL
196.1 | UPS | BOOL
196.2 | WindSensor_damaged | BOOL
196.3 | TiltSensor_damaged | BOOL
196.4 | troubleshoot | BOOL
198 | stop | BOOL
200 | maintenance | BOOL
200.1 | ups | BOOL
200.2 | WindSensor_damaged | BOOL
200.3 | TiltSensor_damaged | BOOL
202 | safety | BOOL
202.1 | ups | BOOL
202.2 | WindSensor_damaged | BOOL
202.3 | TiltSensor_damaged | BOOL
204 | nSoftOM | USINT
206 | xDoorOpen | BOOL
206.1 | xUPSact | BOOL
206.2 | xRemote | BOOL
206.3 | xDigIn4 | BOOL
206.4 | xFault | BOOL
206.5 | xWarning | BOOL
208 | errorcode | UINT
210 | warningcode | UINT
212 | num_tilt_sensors | USINT
213 | sensor1_damanged | BOOL
213.1 | sensor2_damanged | BOOL
214 | phi1 | REAL
218 | phi2 | REAL
222 | twist_angle | REAL
234 | sensor1_offset | REAL
238 | sensor2_offset | REAL
242 | STW | WORD
244 | set_on | BOOL
246 | SetFrequ | REAL
250 | ActFrequ | REAL
258 | Speed | REAL
262 | Current | REAL
266 | Torque | REAL
270 | FaultCode | UINT
272 | WarnCode | UINT
274 | local | BOOL
276 | tracking | BOOL
276.1 | UPS | BOOL
276.2 | WindSensor_damaged | BOOL
276.3 | TiltSensor_damaged | BOOL
276.4 | troubleshoot | BOOL
278 | stop | BOOL
280 | maintenance | BOOL
280.1 | ups | BOOL
280.2 | WindSensor_damaged | BOOL
280.3 | TiltSensor_damaged | BOOL
282 | safety | BOOL
282.1 | ups | BOOL
282.2 | WindSensor_damaged | BOOL
282.3 | TiltSensor_damaged | BOOL
284 | nSoftOM | USINT
286 | xDoorOpen | BOOL
286.1 | xUPSact | BOOL
286.2 | xRemote | BOOL
286.3 | xDigIn4 | BOOL
286.4 | xFault | BOOL
286.5 | xWarning | BOOL
288 | errorcode | UINT
290 | warningcode | UINT
292 | num_tilt_sensors | USINT
293 | sensor1_damanged | BOOL
293.1 | sensor2_damanged | BOOL
294 | phi1 | REAL
298 | phi2 | REAL
302 | twist_angle | REAL
314 | sensor1_offset | REAL
318 | sensor2_offset | REAL
322 | STW | WORD
324 | set_on | BOOL
326 | SetFrequ | REAL
330 | ActFrequ | REAL
338 | Speed | REAL
342 | Current | REAL
346 | Torque | REAL
350 | FaultCode | UINT
352 | WarnCode | UINT
354 | local | BOOL
356 | tracking | BOOL
356.1 | UPS | BOOL
356.2 | WindSensor_damaged | BOOL
356.3 | TiltSensor_damaged | BOOL
356.4 | troubleshoot | BOOL
358 | stop | BOOL
360 | maintenance | BOOL
360.1 | ups | BOOL
360.2 | WindSensor_damaged | BOOL
360.3 | TiltSensor_damaged | BOOL
362 | safety | BOOL
362.1 | ups | BOOL
362.2 | WindSensor_damaged | BOOL
362.3 | TiltSensor_damaged | BOOL
364 | nSoftOM | USINT
366 | xDoorOpen | BOOL
366.1 | xUPSact | BOOL
366.2 | xRemote | BOOL
366.3 | xDigIn4 | BOOL
366.4 | xFault | BOOL
366.5 | xWarning | BOOL
368 | errorcode | UINT
370 | warningcode | UINT
372 | num_tilt_sensors | USINT
373 | sensor1_damanged | BOOL
373.1 | sensor2_damanged | BOOL
374 | phi1 | REAL
378 | phi2 | REAL
382 | twist_angle | REAL
394 | sensor1_offset | REAL
398 | sensor2_offset | REAL
402 | STW | WORD
404 | set_on | BOOL
406 | SetFrequ | REAL
410 | ActFrequ | REAL
418 | Speed | REAL
422 | Current | REAL
426 | Torque | REAL
430 | FaultCode | UINT
432 | WarnCode | UINT
434 | local | BOOL
436 | tracking | BOOL
436.1 | UPS | BOOL
436.2 | WindSensor_damaged | BOOL
436.3 | TiltSensor_damaged | BOOL
436.4 | troubleshoot | BOOL
438 | stop | BOOL
440 | maintenance | BOOL
440.1 | ups | BOOL
440.2 | WindSensor_damaged | BOOL
440.3 | TiltSensor_damaged | BOOL
442 | safety | BOOL
442.1 | ups | BOOL
442.2 | WindSensor_damaged | BOOL
442.3 | TiltSensor_damaged | BOOL
444 | nSoftOM | USINT
446 | xDoorOpen | BOOL
446.1 | xUPSact | BOOL
446.2 | xRemote | BOOL
446.3 | xDigIn4 | BOOL
446.4 | xFault | BOOL
446.5 | xWarning | BOOL
448 | errorcode | UINT
450 | warningcode | UINT
452 | num_tilt_sensors | USINT
453 | sensor1_damanged | BOOL
453.1 | sensor2_damanged | BOOL
454 | phi1 | REAL
458 | phi2 | REAL
462 | twist_angle | REAL
474 | sensor1_offset | REAL
478 | sensor2_offset | REAL
482 | STW | WORD
484 | set_on | BOOL
486 | SetFrequ | REAL
490 | ActFrequ | REAL
498 | Speed | REAL
502 | Current | REAL
506 | Torque | REAL
510 | FaultCode | UINT
512 | WarnCode | UINT
514 | local | BOOL
516 | tracking | BOOL
516.1 | UPS | BOOL
516.2 | WindSensor_damaged | BOOL
516.3 | TiltSensor_damaged | BOOL
516.4 | troubleshoot | BOOL
518 | stop | BOOL
520 | maintenance | BOOL
520.1 | ups | BOOL
520.2 | WindSensor_damaged | BOOL
520.3 | TiltSensor_damaged | BOOL
522 | safety | BOOL
522.1 | ups | BOOL
522.2 | WindSensor_damaged | BOOL
522.3 | TiltSensor_damaged | BOOL
524 | nSoftOM | USINT
526 | xDoorOpen | BOOL
526.1 | xUPSact | BOOL
526.2 | xRemote | BOOL
526.3 | xDigIn4 | BOOL
526.4 | xFault | BOOL
526.5 | xWarning | BOOL
528 | errorcode | UINT
530 | warningcode | UINT
532 | num_tilt_sensors | USINT
533 | sensor1_damanged | BOOL
533.1 | sensor2_damanged | BOOL
534 | phi1 | REAL
538 | phi2 | REAL
542 | twist_angle | REAL
554 | sensor1_offset | REAL
558 | sensor2_offset | REAL
562 | STW | WORD
564 | set_on | BOOL
566 | SetFrequ | REAL
570 | ActFrequ | REAL
578 | Speed | REAL
582 | Current | REAL
586 | Torque | REAL
590 | FaultCode | UINT
592 | WarnCode | UINT
594 | local | BOOL
596 | tracking | BOOL
596.1 | UPS | BOOL
596.2 | WindSensor_damaged | BOOL
596.3 | TiltSensor_damaged | BOOL
596.4 | troubleshoot | BOOL
598 | stop | BOOL
600 | maintenance | BOOL
600.1 | ups | BOOL
600.2 | WindSensor_damaged | BOOL
600.3 | TiltSensor_damaged | BOOL
602 | safety | BOOL
602.1 | ups | BOOL
602.2 | WindSensor_damaged | BOOL
602.3 | TiltSensor_damaged | BOOL
604 | nSoftOM | USINT
606 | xDoorOpen | BOOL
606.1 | xUPSact | BOOL
606.2 | xRemote | BOOL
606.3 | xDigIn4 | BOOL
606.4 | xFault | BOOL
606.5 | xWarning | BOOL
608 | errorcode | UINT
610 | warningcode | UINT
612 | num_tilt_sensors | USINT
613 | sensor1_damanged | BOOL
613.1 | sensor2_damanged | BOOL
614 | phi1 | REAL
618 | phi2 | REAL
622 | twist_angle | REAL
634 | sensor1_offset | REAL
638 | sensor2_offset | REAL
642 | STW | WORD
644 | set_on | BOOL
646 | SetFrequ | REAL
650 | ActFrequ | REAL
658 | Speed | REAL
662 | Current | REAL
666 | Torque | REAL
670 | FaultCode | UINT
672 | WarnCode | UINT
674 | local | BOOL
676 | tracking | BOOL
676.1 | UPS | BOOL
676.2 | WindSensor_damaged | BOOL
676.3 | TiltSensor_damaged | BOOL
676.4 | troubleshoot | BOOL
678 | stop | BOOL
680 | maintenance | BOOL
680.1 | ups | BOOL
680.2 | WindSensor_damaged | BOOL
680.3 | TiltSensor_damaged | BOOL
682 | safety | BOOL
682.1 | ups | BOOL
682.2 | WindSensor_damaged | BOOL
682.3 | TiltSensor_damaged | BOOL
684 | nSoftOM | USINT
686 | xDoorOpen | BOOL
686.1 | xUPSact | BOOL
686.2 | xRemote | BOOL
686.3 | xDigIn4 | BOOL
686.4 | xFault | BOOL
686.5 | xWarning | BOOL
688 | errorcode | UINT
690 | warningcode | UINT
692 | num_tilt_sensors | USINT
693 | sensor1_damanged | BOOL
693.1 | sensor2_damanged | BOOL
694 | phi1 | REAL
698 | phi2 | REAL
702 | twist_angle | REAL
714 | sensor1_offset | REAL
718 | sensor2_offset | REAL
722 | STW | WORD
724 | set_on | BOOL
726 | SetFrequ | REAL
730 | ActFrequ | REAL
738 | Speed | REAL
742 | Current | REAL
746 | Torque | REAL
750 | FaultCode | UINT
752 | WarnCode | UINT
754 | local | BOOL
756 | tracking | BOOL
756.1 | UPS | BOOL
756.2 | WindSensor_damaged | BOOL
756.3 | TiltSensor_damaged | BOOL
756.4 | troubleshoot | BOOL
758 | stop | BOOL
760 | maintenance | BOOL
760.1 | ups | BOOL
760.2 | WindSensor_damaged | BOOL
760.3 | TiltSensor_damaged | BOOL
762 | safety | BOOL
762.1 | ups | BOOL
762.2 | WindSensor_damaged | BOOL
762.3 | TiltSensor_damaged | BOOL
764 | nSoftOM | USINT
766 | xDoorOpen | BOOL
766.1 | xUPSact | BOOL
766.2 | xRemote | BOOL
766.3 | xDigIn4 | BOOL
766.4 | xFault | BOOL
766.5 | xWarning | BOOL
768 | errorcode | UINT
770 | warningcode | UINT
772 | num_tilt_sensors | USINT
773 | sensor1_damanged | BOOL
773.1 | sensor2_damanged | BOOL
774 | phi1 | REAL
778 | phi2 | REAL
782 | twist_angle | REAL
794 | sensor1_offset | REAL
798 | sensor2_offset | REAL
802 | STW | WORD
804 | set_on | BOOL
806 | SetFrequ | REAL
810 | ActFrequ | REAL
818 | Speed | REAL
822 | Current | REAL
826 | Torque | REAL
830 | FaultCode | UINT
832 | WarnCode | UINT
834 | local | BOOL
836 | tracking | BOOL
836.1 | UPS | BOOL
836.2 | WindSensor_damaged | BOOL
836.3 | TiltSensor_damaged | BOOL
836.4 | troubleshoot | BOOL
838 | stop | BOOL
840 | maintenance | BOOL
840.1 | ups | BOOL
840.2 | WindSensor_damaged | BOOL
840.3 | TiltSensor_damaged | BOOL
842 | safety | BOOL
842.1 | ups | BOOL
842.2 | WindSensor_damaged | BOOL
842.3 | TiltSensor_damaged | BOOL
844 | nSoftOM | USINT
846 | xDoorOpen | BOOL
846.1 | xUPSact | BOOL
846.2 | xRemote | BOOL
846.3 | xDigIn4 | BOOL
846.4 | xFault | BOOL
846.5 | xWarning | BOOL
848 | errorcode | UINT
850 | warningcode | UINT
852 | num_tilt_sensors | USINT
853 | sensor1_damanged | BOOL
853.1 | sensor2_damanged | BOOL
854 | phi1 | REAL
858 | phi2 | REAL
862 | twist_angle | REAL
874 | sensor1_offset | REAL
878 | sensor2_offset | REAL
882 | STW | WORD
884 | set_on | BOOL
886 | SetFrequ | REAL
890 | ActFrequ | REAL
898 | Speed | REAL
902 | Current | REAL
906 | Torque | REAL
910 | FaultCode | UINT
912 | WarnCode | UINT
914 | local | BOOL
916 | tracking | BOOL
916.1 | UPS | BOOL
916.2 | WindSensor_damaged | BOOL
916.3 | TiltSensor_damaged | BOOL
916.4 | troubleshoot | BOOL
918 | stop | BOOL
920 | maintenance | BOOL
920.1 | ups | BOOL
920.2 | WindSensor_damaged | BOOL
920.3 | TiltSensor_damaged | BOOL
922 | safety | BOOL
922.1 | ups | BOOL
922.2 | WindSensor_damaged | BOOL
922.3 | TiltSensor_damaged | BOOL
924 | nSoftOM | USINT
926 | xDoorOpen | BOOL
926.1 | xUPSact | BOOL
926.2 | xRemote | BOOL
926.3 | xDigIn4 | BOOL
926.4 | xFault | BOOL
926.5 | xWarning | BOOL
928 | errorcode | UINT
930 | warningcode | UINT
932 | num_tilt_sensors | USINT
933 | sensor1_damanged | BOOL
933.1 | sensor2_damanged | BOOL
934 | phi1 | REAL
938 | phi2 | REAL
942 | twist_angle | REAL
954 | sensor1_offset | REAL
958 | sensor2_offset | REAL
962 | STW | WORD
964 | set_on | BOOL
966 | SetFrequ | REAL
970 | ActFrequ | REAL
978 | Speed | REAL
982 | Current | REAL
986 | Torque | REAL
990 | FaultCode | UINT
992 | WarnCode | UINT
994 | local | BOOL
996 | tracking | BOOL
996.1 | UPS | BOOL
996.2 | WindSensor_damaged | BOOL
996.3 | TiltSensor_damaged | BOOL
996.4 | troubleshoot | BOOL
998 | stop | BOOL
1000 | maintenance | BOOL
1000.1 | ups | BOOL
1000.2 | WindSensor_damaged | BOOL
1000.3 | TiltSensor_damaged | BOOL
1002 | safety | BOOL
1002.1 | ups | BOOL
1002.2 | WindSensor_damaged | BOOL
1002.3 | TiltSensor_damaged | BOOL
1004 | nSoftOM | USINT
1006 | xDoorOpen | BOOL
1006.1 | xUPSact | BOOL
1006.2 | xRemote | BOOL
1006.3 | xDigIn4 | BOOL
1006.4 | xFault | BOOL
1006.5 | xWarning | BOOL
1008 | errorcode | UINT
1010 | warningcode | UINT
1012 | num_tilt_sensors | USINT
1013 | sensor1_damanged | BOOL
1013.1 | sensor2_damanged | BOOL
1014 | phi1 | REAL
1018 | phi2 | REAL
1022 | twist_angle | REAL
1034 | sensor1_offset | REAL
1038 | sensor2_offset | REAL
1042 | STW | WORD
1044 | set_on | BOOL
1046 | SetFrequ | REAL
1050 | ActFrequ | REAL
1058 | Speed | REAL
1062 | Current | REAL
1066 | Torque | REAL
1070 | FaultCode | UINT
1072 | WarnCode | UINT
1074 | local | BOOL
1076 | tracking | BOOL
1076.1 | UPS | BOOL
1076.2 | WindSensor_damaged | BOOL
1076.3 | TiltSensor_damaged | BOOL
1076.4 | troubleshoot | BOOL
1078 | stop | BOOL
1080 | maintenance | BOOL
1080.1 | ups | BOOL
1080.2 | WindSensor_damaged | BOOL
1080.3 | TiltSensor_damaged | BOOL
1082 | safety | BOOL
1082.1 | ups | BOOL
1082.2 | WindSensor_damaged | BOOL
1082.3 | TiltSensor_damaged | BOOL
1084 | nSoftOM | USINT
1086 | xDoorOpen | BOOL
1086.1 | xUPSact | BOOL
1086.2 | xRemote | BOOL
1086.3 | xDigIn4 | BOOL
1086.4 | xFault | BOOL
1086.5 | xWarning | BOOL
1088 | errorcode | UINT
1090 | warningcode | UINT
1092 | num_tilt_sensors | USINT
1093 | sensor1_damanged | BOOL
1093.1 | sensor2_damanged | BOOL
1094 | phi1 | REAL
1098 | phi2 | REAL
1102 | twist_angle | REAL
1114 | sensor1_offset | REAL
1118 | sensor2_offset | REAL
1122 | STW | WORD
1124 | set_on | BOOL
1126 | SetFrequ | REAL
1130 | ActFrequ | REAL
1138 | Speed | REAL
1142 | Current | REAL
1146 | Torque | REAL
1150 | FaultCode | UINT
1152 | WarnCode | UINT
1154 | local | BOOL
1156 | tracking | BOOL
1156.1 | UPS | BOOL
1156.2 | WindSensor_damaged | BOOL
1156.3 | TiltSensor_damaged | BOOL
1156.4 | troubleshoot | BOOL
1158 | stop | BOOL
1160 | maintenance | BOOL
1160.1 | ups | BOOL
1160.2 | WindSensor_damaged | BOOL
1160.3 | TiltSensor_damaged | BOOL
1162 | safety | BOOL
1162.1 | ups | BOOL
1162.2 | WindSensor_damaged | BOOL
1162.3 | TiltSensor_damaged | BOOL
1164 | nSoftOM | USINT
1166 | xDoorOpen | BOOL
1166.1 | xUPSact | BOOL
1166.2 | xRemote | BOOL
1166.3 | xDigIn4 | BOOL
1166.4 | xFault | BOOL
1166.5 | xWarning | BOOL
1168 | errorcode | UINT
1170 | warningcode | UINT
1172 | num_tilt_sensors | USINT
1173 | sensor1_damanged | BOOL
1173.1 | sensor2_damanged | BOOL
1174 | phi1 | REAL
1178 | phi2 | REAL
1182 | twist_angle | REAL
1194 | sensor1_offset | REAL
1198 | sensor2_offset | REAL
1202 | STW | WORD
1204 | set_on | BOOL
1206 | SetFrequ | REAL
1210 | ActFrequ | REAL
1218 | Speed | REAL
1222 | Current | REAL
1226 | Torque | REAL
1230 | FaultCode | UINT
1232 | WarnCode | UINT
1234 | local | BOOL
1236 | tracking | BOOL
1236.1 | UPS | BOOL
1236.2 | WindSensor_damaged | BOOL
1236.3 | TiltSensor_damaged | BOOL
1236.4 | troubleshoot | BOOL
1238 | stop | BOOL
1240 | maintenance | BOOL
1240.1 | ups | BOOL
1240.2 | WindSensor_damaged | BOOL
1240.3 | TiltSensor_damaged | BOOL
1242 | safety | BOOL
1242.1 | ups | BOOL
1242.2 | WindSensor_damaged | BOOL
1242.3 | TiltSensor_damaged | BOOL
1244 | nSoftOM | USINT
1246 | xDoorOpen | BOOL
1246.1 | xUPSact | BOOL
1246.2 | xRemote | BOOL
1246.3 | xDigIn4 | BOOL
1246.4 | xFault | BOOL
1246.5 | xWarning | BOOL
1248 | errorcode | UINT
1250 | warningcode | UINT
1252 | num_tilt_sensors | USINT
1253 | sensor1_damanged | BOOL
1253.1 | sensor2_damanged | BOOL
1254 | phi1 | REAL
1258 | phi2 | REAL
1262 | twist_angle | REAL
1274 | sensor1_offset | REAL
1278 | sensor2_offset | REAL
1282 | STW | WORD
1284 | set_on | BOOL
1286 | SetFrequ | REAL
1290 | ActFrequ | REAL
1298 | Speed | REAL
1302 | Current | REAL
1306 | Torque | REAL
1310 | FaultCode | UINT
1312 | WarnCode | UINT
1314 | local | BOOL
1316 | tracking | BOOL
1316.1 | UPS | BOOL
1316.2 | WindSensor_damaged | BOOL
1316.3 | TiltSensor_damaged | BOOL
1316.4 | troubleshoot | BOOL
1318 | stop | BOOL
1320 | maintenance | BOOL
1320.1 | ups | BOOL
1320.2 | WindSensor_damaged | BOOL
1320.3 | TiltSensor_damaged | BOOL
1322 | safety | BOOL
1322.1 | ups | BOOL
1322.2 | WindSensor_damaged | BOOL
1322.3 | TiltSensor_damaged | BOOL
1324 | nSoftOM | USINT
1326 | xDoorOpen | BOOL
1326.1 | xUPSact | BOOL
1326.2 | xRemote | BOOL
1326.3 | xDigIn4 | BOOL
1326.4 | xFault | BOOL
1326.5 | xWarning | BOOL
1328 | errorcode | UINT
1330 | warningcode | UINT
1332 | num_tilt_sensors | USINT
1333 | sensor1_damanged | BOOL
1333.1 | sensor2_damanged | BOOL
1334 | phi1 | REAL
1338 | phi2 | REAL
1342 | twist_angle | REAL
1354 | sensor1_offset | REAL
1358 | sensor2_offset | REAL
1362 | STW | WORD
1364 | set_on | BOOL
1366 | SetFrequ | REAL
1370 | ActFrequ | REAL
1378 | Speed | REAL
1382 | Current | REAL
1386 | Torque | REAL
1390 | FaultCode | UINT
1392 | WarnCode | UINT
1394 | local | BOOL
1396 | tracking | BOOL
1396.1 | UPS | BOOL
1396.2 | WindSensor_damaged | BOOL
1396.3 | TiltSensor_damaged | BOOL
1396.4 | troubleshoot | BOOL
1398 | stop | BOOL
1400 | maintenance | BOOL
1400.1 | ups | BOOL
1400.2 | WindSensor_damaged | BOOL
1400.3 | TiltSensor_damaged | BOOL
1402 | safety | BOOL
1402.1 | ups | BOOL
1402.2 | WindSensor_damaged | BOOL
1402.3 | TiltSensor_damaged | BOOL
1404 | nSoftOM | USINT
1406 | xDoorOpen | BOOL
1406.1 | xUPSact | BOOL
1406.2 | xRemote | BOOL
1406.3 | xDigIn4 | BOOL
1406.4 | xFault | BOOL
1406.5 | xWarning | BOOL
1408 | errorcode | UINT
1410 | warningcode | UINT
1412 | num_tilt_sensors | USINT
1413 | sensor1_damanged | BOOL
1413.1 | sensor2_damanged | BOOL
1414 | phi1 | REAL
1418 | phi2 | REAL
1422 | twist_angle | REAL
1434 | sensor1_offset | REAL
1438 | sensor2_offset | REAL
1442 | STW | WORD
1444 | set_on | BOOL
1446 | SetFrequ | REAL
1450 | ActFrequ | REAL
1458 | Speed | REAL
1462 | Current | REAL
1466 | Torque | REAL
1470 | FaultCode | UINT
1472 | WarnCode | UINT
1474 | local | BOOL
1476 | tracking | BOOL
1476.1 | UPS | BOOL
1476.2 | WindSensor_damaged | BOOL
1476.3 | TiltSensor_damaged | BOOL
1476.4 | troubleshoot | BOOL
1478 | stop | BOOL
1480 | maintenance | BOOL
1480.1 | ups | BOOL
1480.2 | WindSensor_damaged | BOOL
1480.3 | TiltSensor_damaged | BOOL
1482 | safety | BOOL
1482.1 | ups | BOOL
1482.2 | WindSensor_damaged | BOOL
1482.3 | TiltSensor_damaged | BOOL
1484 | nSoftOM | USINT
1486 | xDoorOpen | BOOL
1486.1 | xUPSact | BOOL
1486.2 | xRemote | BOOL
1486.3 | xDigIn4 | BOOL
1486.4 | xFault | BOOL
1486.5 | xWarning | BOOL
1488 | errorcode | UINT
1490 | warningcode | UINT
1492 | num_tilt_sensors | USINT
1493 | sensor1_damanged | BOOL
1493.1 | sensor2_damanged | BOOL
1494 | phi1 | REAL
1498 | phi2 | REAL
1502 | twist_angle | REAL
1514 | sensor1_offset | REAL
1518 | sensor2_offset | REAL
1522 | STW | WORD
1524 | set_on | BOOL
1526 | SetFrequ | REAL
1530 | ActFrequ | REAL
1538 | Speed | REAL
1542 | Current | REAL
1546 | Torque | REAL
1550 | FaultCode | UINT
1552 | WarnCode | UINT
1554 | local | BOOL
1556 | tracking | BOOL
1556.1 | UPS | BOOL
1556.2 | WindSensor_damaged | BOOL
1556.3 | TiltSensor_damaged | BOOL
1556.4 | troubleshoot | BOOL
1558 | stop | BOOL
1560 | maintenance | BOOL
1560.1 | ups | BOOL
1560.2 | WindSensor_damaged | BOOL
1560.3 | TiltSensor_damaged | BOOL
1562 | safety | BOOL
1562.1 | ups | BOOL
1562.2 | WindSensor_damaged | BOOL
1562.3 | TiltSensor_damaged | BOOL
1564 | nSoftOM | USINT
1566 | xDoorOpen | BOOL
1566.1 | xUPSact | BOOL
1566.2 | xRemote | BOOL
1566.3 | xDigIn4 | BOOL
1566.4 | xFault | BOOL
1566.5 | xWarning | BOOL
1568 | errorcode | UINT
1570 | warningcode | UINT
1572 | num_tilt_sensors | USINT
1573 | sensor1_damanged | BOOL
1573.1 | sensor2_damanged | BOOL
1574 | phi1 | REAL
1578 | phi2 | REAL
1582 | twist_angle | REAL
1594 | sensor1_offset | REAL
1598 | sensor2_offset | REAL
1602 | STW | WORD
1604 | set_on | BOOL
1606 | SetFrequ | REAL
1610 | ActFrequ | REAL
1618 | Speed | REAL
1622 | Current | REAL
1626 | Torque | REAL
1630 | FaultCode | UINT
1632 | WarnCode | UINT
1634 | local | BOOL
1636 | tracking | BOOL
1636.1 | UPS | BOOL
1636.2 | WindSensor_damaged | BOOL
1636.3 | TiltSensor_damaged | BOOL
1636.4 | troubleshoot | BOOL
1638 | stop | BOOL
1640 | maintenance | BOOL
1640.1 | ups | BOOL
1640.2 | WindSensor_damaged | BOOL
1640.3 | TiltSensor_damaged | BOOL
1642 | safety | BOOL
1642.1 | ups | BOOL
1642.2 | WindSensor_damaged | BOOL
1642.3 | TiltSensor_damaged | BOOL
1644 | nSoftOM | USINT
1646 | xDoorOpen | BOOL
1646.1 | xUPSact | BOOL
1646.2 | xRemote | BOOL
1646.3 | xDigIn4 | BOOL
1646.4 | xFault | BOOL
1646.5 | xWarning | BOOL
1648 | errorcode | UINT
1650 | warningcode | UINT
1652 | num_tilt_sensors | USINT
1653 | sensor1_damanged | BOOL
1653.1 | sensor2_damanged | BOOL
1654 | phi1 | REAL
1658 | phi2 | REAL
1662 | twist_angle | REAL
1674 | sensor1_offset | REAL
1678 | sensor2_offset | REAL
1682 | STW | WORD
1684 | set_on | BOOL
1686 | SetFrequ | REAL
1690 | ActFrequ | REAL
1698 | Speed | REAL
1702 | Current | REAL
1706 | Torque | REAL
1710 | FaultCode | UINT
1712 | WarnCode | UINT
1714 | local | BOOL
1716 | tracking | BOOL
1716.1 | UPS | BOOL
1716.2 | WindSensor_damaged | BOOL
1716.3 | TiltSensor_damaged | BOOL
1716.4 | troubleshoot | BOOL
1718 | stop | BOOL
1720 | maintenance | BOOL
1720.1 | ups | BOOL
1720.2 | WindSensor_damaged | BOOL
1720.3 | TiltSensor_damaged | BOOL
1722 | safety | BOOL
1722.1 | ups | BOOL
1722.2 | WindSensor_damaged | BOOL
1722.3 | TiltSensor_damaged | BOOL
1724 | nSoftOM | USINT
1726 | xDoorOpen | BOOL
1726.1 | xUPSact | BOOL
1726.2 | xRemote | BOOL
1726.3 | xDigIn4 | BOOL
1726.4 | xFault | BOOL
1726.5 | xWarning | BOOL
1728 | errorcode | UINT
1730 | warningcode | UINT
1732 | num_tilt_sensors | USINT
1733 | sensor1_damanged | BOOL
1733.1 | sensor2_damanged | BOOL
1734 | phi1 | REAL
1738 | phi2 | REAL
1742 | twist_angle | REAL
1754 | sensor1_offset | REAL
1758 | sensor2_offset | REAL
1762 | STW | WORD
1764 | set_on | BOOL
1766 | SetFrequ | REAL
1770 | ActFrequ | REAL
1778 | Speed | REAL
1782 | Current | REAL
1786 | Torque | REAL
1790 | FaultCode | UINT
1792 | WarnCode | UINT
1794 | local | BOOL
1796 | tracking | BOOL
1796.1 | UPS | BOOL
1796.2 | WindSensor_damaged | BOOL
1796.3 | TiltSensor_damaged | BOOL
1796.4 | troubleshoot | BOOL
1798 | stop | BOOL
1800 | maintenance | BOOL
1800.1 | ups | BOOL
1800.2 | WindSensor_damaged | BOOL
1800.3 | TiltSensor_damaged | BOOL
1802 | safety | BOOL
1802.1 | ups | BOOL
1802.2 | WindSensor_damaged | BOOL
1802.3 | TiltSensor_damaged | BOOL
1804 | nSoftOM | USINT
1806 | xDoorOpen | BOOL
1806.1 | xUPSact | BOOL
1806.2 | xRemote | BOOL
1806.3 | xDigIn4 | BOOL
1806.4 | xFault | BOOL
1806.5 | xWarning | BOOL
1808 | errorcode | UINT
1810 | warningcode | UINT
1812 | num_tilt_sensors | USINT
1813 | sensor1_damanged | BOOL
1813.1 | sensor2_damanged | BOOL
1814 | phi1 | REAL
1818 | phi2 | REAL
1822 | twist_angle | REAL
1834 | sensor1_offset | REAL
1838 | sensor2_offset | REAL
1842 | STW | WORD
1844 | set_on | BOOL
1846 | SetFrequ | REAL
1850 | ActFrequ | REAL
1858 | Speed | REAL
1862 | Current | REAL
1866 | Torque | REAL
1870 | FaultCode | UINT
1872 | WarnCode | UINT
1874 | local | BOOL
1876 | tracking | BOOL
1876.1 | UPS | BOOL
1876.2 | WindSensor_damaged | BOOL
1876.3 | TiltSensor_damaged | BOOL
1876.4 | troubleshoot | BOOL
1878 | stop | BOOL
1880 | maintenance | BOOL
1880.1 | ups | BOOL
1880.2 | WindSensor_damaged | BOOL
1880.3 | TiltSensor_damaged | BOOL
1882 | safety | BOOL
1882.1 | ups | BOOL
1882.2 | WindSensor_damaged | BOOL
1882.3 | TiltSensor_damaged | BOOL
1884 | nSoftOM | USINT
1886 | xDoorOpen | BOOL
1886.1 | xUPSact | BOOL
1886.2 | xRemote | BOOL
1886.3 | xDigIn4 | BOOL
1886.4 | xFault | BOOL
1886.5 | xWarning | BOOL
1888 | errorcode | UINT
1890 | warningcode | UINT
1892 | num_tilt_sensors | USINT
1893 | sensor1_damanged | BOOL
1893.1 | sensor2_damanged | BOOL
1894 | phi1 | REAL
1898 | phi2 | REAL
1902 | twist_angle | REAL
1914 | sensor1_offset | REAL
1918 | sensor2_offset | REAL
1922 | STW | WORD
1924 | set_on | BOOL
1926 | SetFrequ | REAL
1930 | ActFrequ | REAL
1938 | Speed | REAL
1942 | Current | REAL
1946 | Torque | REAL
1950 | FaultCode | UINT
1952 | WarnCode | UINT
1954 | local | BOOL
1956 | tracking | BOOL
1956.1 | UPS | BOOL
1956.2 | WindSensor_damaged | BOOL
1956.3 | TiltSensor_damaged | BOOL
1956.4 | troubleshoot | BOOL
1958 | stop | BOOL
1960 | maintenance | BOOL
1960.1 | ups | BOOL
1960.2 | WindSensor_damaged | BOOL
1960.3 | TiltSensor_damaged | BOOL
1962 | safety | BOOL
1962.1 | ups | BOOL
1962.2 | WindSensor_damaged | BOOL
1962.3 | TiltSensor_damaged | BOOL
1964 | nSoftOM | USINT
1966 | xDoorOpen | BOOL
1966.1 | xUPSact | BOOL
1966.2 | xRemote | BOOL
1966.3 | xDigIn4 | BOOL
1966.4 | xFault | BOOL
1966.5 | xWarning | BOOL
1968 | errorcode | UINT
1970 | warningcode | UINT
1972 | num_tilt_sensors | USINT
1973 | sensor1_damanged | BOOL
1973.1 | sensor2_damanged | BOOL
1974 | phi1 | REAL
1978 | phi2 | REAL
1982 | twist_angle | REAL
1994 | sensor1_offset | REAL
1998 | sensor2_offset | REAL
2002 | STW | WORD
2004 | set_on | BOOL
2006 | SetFrequ | REAL
2010 | ActFrequ | REAL
2018 | Speed | REAL
2022 | Current | REAL
2026 | Torque | REAL
2030 | FaultCode | UINT
2032 | WarnCode | UINT
2034 | local | BOOL
2036 | tracking | BOOL
2036.1 | UPS | BOOL
2036.2 | WindSensor_damaged | BOOL
2036.3 | TiltSensor_damaged | BOOL
2036.4 | troubleshoot | BOOL
2038 | stop | BOOL
2040 | maintenance | BOOL
2040.1 | ups | BOOL
2040.2 | WindSensor_damaged | BOOL
2040.3 | TiltSensor_damaged | BOOL
2042 | safety | BOOL
2042.1 | ups | BOOL
2042.2 | WindSensor_damaged | BOOL
2042.3 | TiltSensor_damaged | BOOL
2044 | nSoftOM | USINT
2046 | xDoorOpen | BOOL
2046.1 | xUPSact | BOOL
2046.2 | xRemote | BOOL
2046.3 | xDigIn4 | BOOL
2046.4 | xFault | BOOL
2046.5 | xWarning | BOOL
2048 | errorcode | UINT
2050 | warningcode | UINT
2052 | num_tilt_sensors | USINT
2053 | sensor1_damanged | BOOL
2053.1 | sensor2_damanged | BOOL
2054 | phi1 | REAL
2058 | phi2 | REAL
2062 | twist_angle | REAL
2074 | sensor1_offset | REAL
2078 | sensor2_offset | REAL
2082 | STW | WORD
2084 | set_on | BOOL
2086 | SetFrequ | REAL
2090 | ActFrequ | REAL
2098 | Speed | REAL
2102 | Current | REAL
2106 | Torque | REAL
2110 | FaultCode | UINT
2112 | WarnCode | UINT
2114 | local | BOOL
2116 | tracking | BOOL
2116.1 | UPS | BOOL
2116.2 | WindSensor_damaged | BOOL
2116.3 | TiltSensor_damaged | BOOL
2116.4 | troubleshoot | BOOL
2118 | stop | BOOL
2120 | maintenance | BOOL
2120.1 | ups | BOOL
2120.2 | WindSensor_damaged | BOOL
2120.3 | TiltSensor_damaged | BOOL
2122 | safety | BOOL
2122.1 | ups | BOOL
2122.2 | WindSensor_damaged | BOOL
2122.3 | TiltSensor_damaged | BOOL
2124 | nSoftOM | USINT
2126 | xDoorOpen | BOOL
2126.1 | xUPSact | BOOL
2126.2 | xRemote | BOOL
2126.3 | xDigIn4 | BOOL
2126.4 | xFault | BOOL
2126.5 | xWarning | BOOL
2128 | errorcode | UINT
2130 | warningcode | UINT
2132 | num_tilt_sensors | USINT
2133 | sensor1_damanged | BOOL
2133.1 | sensor2_damanged | BOOL
2134 | phi1 | REAL
2138 | phi2 | REAL
2142 | twist_angle | REAL
2154 | sensor1_offset | REAL
2158 | sensor2_offset | REAL
2162 | STW | WORD
2164 | set_on | BOOL
2166 | SetFrequ | REAL
2170 | ActFrequ | REAL
2178 | Speed | REAL
2182 | Current | REAL
2186 | Torque | REAL
2190 | FaultCode | UINT
2192 | WarnCode | UINT
2194 | local | BOOL
2196 | tracking | BOOL
2196.1 | UPS | BOOL
2196.2 | WindSensor_damaged | BOOL
2196.3 | TiltSensor_damaged | BOOL
2196.4 | troubleshoot | BOOL
2198 | stop | BOOL
2200 | maintenance | BOOL
2200.1 | ups | BOOL
2200.2 | WindSensor_damaged | BOOL
2200.3 | TiltSensor_damaged | BOOL
2202 | safety | BOOL
2202.1 | ups | BOOL
2202.2 | WindSensor_damaged | BOOL
2202.3 | TiltSensor_damaged | BOOL
2204 | nSoftOM | USINT
2206 | xDoorOpen | BOOL
2206.1 | xUPSact | BOOL
2206.2 | xRemote | BOOL
2206.3 | xDigIn4 | BOOL
2206.4 | xFault | BOOL
2206.5 | xWarning | BOOL
2208 | errorcode | UINT
2210 | warningcode | UINT
2212 | num_tilt_sensors | USINT
2213 | sensor1_damanged | BOOL
2213.1 | sensor2_damanged | BOOL
2214 | phi1 | REAL
2218 | phi2 | REAL
2222 | twist_angle | REAL
2234 | sensor1_offset | REAL
2238 | sensor2_offset | REAL
2242 | STW | WORD
2244 | set_on | BOOL
2246 | SetFrequ | REAL
2250 | ActFrequ | REAL
2258 | Speed | REAL
2262 | Current | REAL
2266 | Torque | REAL
2270 | FaultCode | UINT
2272 | WarnCode | UINT
2274 | local | BOOL
2276 | tracking | BOOL
2276.1 | UPS | BOOL
2276.2 | WindSensor_damaged | BOOL
2276.3 | TiltSensor_damaged | BOOL
2276.4 | troubleshoot | BOOL
2278 | stop | BOOL
2280 | maintenance | BOOL
2280.1 | ups | BOOL
2280.2 | WindSensor_damaged | BOOL
2280.3 | TiltSensor_damaged | BOOL
2282 | safety | BOOL
2282.1 | ups | BOOL
2282.2 | WindSensor_damaged | BOOL
2282.3 | TiltSensor_damaged | BOOL
2284 | nSoftOM | USINT
2286 | xDoorOpen | BOOL
2286.1 | xUPSact | BOOL
2286.2 | xRemote | BOOL
2286.3 | xDigIn4 | BOOL
2286.4 | xFault | BOOL
2286.5 | xWarning | BOOL
2288 | errorcode | UINT
2290 | warningcode | UINT
2292 | num_tilt_sensors | USINT
2293 | sensor1_damanged | BOOL
2293.1 | sensor2_damanged | BOOL
2294 | phi1 | REAL
2298 | phi2 | REAL
2302 | twist_angle | REAL
2314 | sensor1_offset | REAL
2318 | sensor2_offset | REAL
2322 | STW | WORD
2324 | set_on | BOOL
2326 | SetFrequ | REAL
2330 | ActFrequ | REAL
2338 | Speed | REAL
2342 | Current | REAL
2346 | Torque | REAL
2350 | FaultCode | UINT
2352 | WarnCode | UINT
2354 | local | BOOL
2356 | tracking | BOOL
2356.1 | UPS | BOOL
2356.2 | WindSensor_damaged | BOOL
2356.3 | TiltSensor_damaged | BOOL
2356.4 | troubleshoot | BOOL
2358 | stop | BOOL
2360 | maintenance | BOOL
2360.1 | ups | BOOL
2360.2 | WindSensor_damaged | BOOL
2360.3 | TiltSensor_damaged | BOOL
2362 | safety | BOOL
2362.1 | ups | BOOL
2362.2 | WindSensor_damaged | BOOL
2362.3 | TiltSensor_damaged | BOOL
2364 | nSoftOM | USINT
2366 | xDoorOpen | BOOL
2366.1 | xUPSact | BOOL
2366.2 | xRemote | BOOL
2366.3 | xDigIn4 | BOOL
2366.4 | xFault | BOOL
2366.5 | xWarning | BOOL
2368 | errorcode | UINT
2370 | warningcode | UINT
2372 | num_tilt_sensors | USINT
2373 | sensor1_damanged | BOOL
2373.1 | sensor2_damanged | BOOL
2374 | phi1 | REAL
2378 | phi2 | REAL
2382 | twist_angle | REAL
2394 | sensor1_offset | REAL
2398 | sensor2_offset | REAL
2402 | STW | WORD
2404 | set_on | BOOL
2406 | SetFrequ | REAL
2410 | ActFrequ | REAL
2418 | Speed | REAL
2422 | Current | REAL
2426 | Torque | REAL
2430 | FaultCode | UINT
2432 | WarnCode | UINT
2434 | local | BOOL
2436 | tracking | BOOL
2436.1 | UPS | BOOL
2436.2 | WindSensor_damaged | BOOL
2436.3 | TiltSensor_damaged | BOOL
2436.4 | troubleshoot | BOOL
2438 | stop | BOOL
2440 | maintenance | BOOL
2440.1 | ups | BOOL
2440.2 | WindSensor_damaged | BOOL
2440.3 | TiltSensor_damaged | BOOL
2442 | safety | BOOL
2442.1 | ups | BOOL
2442.2 | WindSensor_damaged | BOOL
2442.3 | TiltSensor_damaged | BOOL
2444 | nSoftOM | USINT
2446 | xDoorOpen | BOOL
2446.1 | xUPSact | BOOL
2446.2 | xRemote | BOOL
2446.3 | xDigIn4 | BOOL
2446.4 | xFault | BOOL
2446.5 | xWarning | BOOL
2448 | errorcode | UINT
2450 | warningcode | UINT
2452 | num_tilt_sensors | USINT
2453 | sensor1_damanged | BOOL
2453.1 | sensor2_damanged | BOOL
2454 | phi1 | REAL
2458 | phi2 | REAL
2462 | twist_angle | REAL
2474 | sensor1_offset | REAL
2478 | sensor2_offset | REAL
2482 | STW | WORD
2484 | set_on | BOOL
2486 | SetFrequ | REAL
2490 | ActFrequ | REAL
2498 | Speed | REAL
2502 | Current | REAL
2506 | Torque | REAL
2510 | FaultCode | UINT
2512 | WarnCode | UINT
2514 | local | BOOL
2516 | tracking | BOOL
2516.1 | UPS | BOOL
2516.2 | WindSensor_damaged | BOOL
2516.3 | TiltSensor_damaged | BOOL
2516.4 | troubleshoot | BOOL
2518 | stop | BOOL
2520 | maintenance | BOOL
2520.1 | ups | BOOL
2520.2 | WindSensor_damaged | BOOL
2520.3 | TiltSensor_damaged | BOOL
2522 | safety | BOOL
2522.1 | ups | BOOL
2522.2 | WindSensor_damaged | BOOL
2522.3 | TiltSensor_damaged | BOOL
2524 | nSoftOM | USINT
2526 | xDoorOpen | BOOL
2526.1 | xUPSact | BOOL
2526.2 | xRemote | BOOL
2526.3 | xDigIn4 | BOOL
2526.4 | xFault | BOOL
2526.5 | xWarning | BOOL
2528 | errorcode | UINT
2530 | warningcode | UINT
2532 | num_tilt_sensors | USINT
2533 | sensor1_damanged | BOOL
2533.1 | sensor2_damanged | BOOL
2534 | phi1 | REAL
2538 | phi2 | REAL
2542 | twist_angle | REAL
2554 | sensor1_offset | REAL
2558 | sensor2_offset | REAL
2562 | rLatitude | LREAL
2570 | rLongtitude | LREAL
2578 | rTemperature | LREAL
2586 | rPressure | LREAL
2594 | rElevation | LREAL
2602 | rAtmos_Refract | LREAL
2610 | rDeltaT | LREAL
2618 | rAlpha | LREAL
2626 | rBeta | LREAL
2634 | offsetSunrise | TIME
2638 | offsetSunset | TIME
2642 | rShadowWidth | LREAL
2650 | rGroundSlope | LREAL
2658 | rX | LREAL
2666 | rL | LREAL
2682 | max_allowed_torque_factor | REAL
2689 | xWindMaster | BOOL
2694 | wind_data_updatemaxtime | UINT
2696 | wind_update_time | UINT
2700 | value | REAL
2704 | windsensor_damaged | BOOL
2706 | last_setpoint_1 | REAL | last_setpoint_1
2710 | last_setpoint_2 | REAL | last_setpoint_2
2714 | last_setpoint_3 | REAL | last_setpoint_3
2718 | last_setpoint_4 | REAL | last_setpoint_4
2722 | last_setpoint_5 | REAL | last_setpoint_5
2726 | last_setpoint_6 | REAL | last_setpoint_6
2730 | last_setpoint_7 | REAL | last_setpoint_7
2734 | last_setpoint_8 | REAL | last_setpoint_8
2738 | last_setpoint_9 | REAL | last_setpoint_9
2742 | last_setpoint_10 | REAL | last_setpoint_10
2746 | last_setpoint_11 | REAL | last_setpoint_11
2750 | last_setpoint_12 | REAL | last_setpoint_12
2754 | last_setpoint_13 | REAL | last_setpoint_13
2758 | last_setpoint_14 | REAL | last_setpoint_14
2762 | last_setpoint_15 | REAL | last_setpoint_15
2766 | last_setpoint_16 | REAL | last_setpoint_16
2770 | last_setpoint_17 | REAL | last_setpoint_17
2774 | last_setpoint_18 | REAL | last_setpoint_18
2778 | last_setpoint_19 | REAL | last_setpoint_19
2782 | last_setpoint_20 | REAL | last_setpoint_20
2786 | last_setpoint_21 | REAL | last_setpoint_21
2790 | last_setpoint_22 | REAL | last_setpoint_22
2794 | last_setpoint_23 | REAL | last_setpoint_23
2798 | last_setpoint_24 | REAL | last_setpoint_24
2802 | last_setpoint_25 | REAL | last_setpoint_25
2806 | last_setpoint_26 | REAL | last_setpoint_26
2810 | last_setpoint_27 | REAL | last_setpoint_27
2814 | last_setpoint_28 | REAL | last_setpoint_28
2818 | last_setpoint_29 | REAL | last_setpoint_29
2822 | last_setpoint_30 | REAL | last_setpoint_30
2826 | last_setpoint_31 | REAL | last_setpoint_31
2830 | curr_angle_1 | REAL | curr_angle_1
2834 | curr_angle_2 | REAL | curr_angle_2
2838 | curr_angle_3 | REAL | curr_angle_3
2842 | curr_angle_4 | REAL | curr_angle_4
2846 | curr_angle_5 | REAL | curr_angle_5
2850 | curr_angle_6 | REAL | curr_angle_6
2854 | curr_angle_7 | REAL | curr_angle_7
2858 | curr_angle_8 | REAL | curr_angle_8
2862 | curr_angle_9 | REAL | curr_angle_9
2866 | curr_angle_10 | REAL | curr_angle_10
2870 | curr_angle_11 | REAL | curr_angle_11
2874 | curr_angle_12 | REAL | curr_angle_12
2878 | curr_angle_13 | REAL | curr_angle_13
2882 | curr_angle_14 | REAL | curr_angle_14
2886 | curr_angle_15 | REAL | curr_angle_15
2890 | curr_angle_16 | REAL | curr_angle_16
2894 | curr_angle_17 | REAL | curr_angle_17
2898 | curr_angle_18 | REAL | curr_angle_18
2902 | curr_angle_19 | REAL | curr_angle_19
2906 | curr_angle_20 | REAL | curr_angle_20
2910 | curr_angle_21 | REAL | curr_angle_21
2914 | curr_angle_22 | REAL | curr_angle_22
2918 | curr_angle_23 | REAL | curr_angle_23
2922 | curr_angle_24 | REAL | curr_angle_24
2926 | curr_angle_25 | REAL | curr_angle_25
2930 | curr_angle_26 | REAL | curr_angle_26
2934 | curr_angle_27 | REAL | curr_angle_27
2938 | curr_angle_28 | REAL | curr_angle_28
2942 | curr_angle_29 | REAL | curr_angle_29
2946 | curr_angle_30 | REAL | curr_angle_30
2950 | curr_angle_31 | REAL | curr_angle_31
2954 | delta_phi_1 | REAL | delta_phi_1
2958 | delta_phi_2 | REAL | delta_phi_2
2962 | delta_phi_3 | REAL | delta_phi_3
2966 | delta_phi_4 | REAL | delta_phi_4
2970 | delta_phi_5 | REAL | delta_phi_5
2974 | delta_phi_6 | REAL | delta_phi_6
2978 | delta_phi_7 | REAL | delta_phi_7
2982 | delta_phi_8 | REAL | delta_phi_8
2986 | delta_phi_9 | REAL | delta_phi_9
2990 | delta_phi_10 | REAL | delta_phi_10
2994 | delta_phi_11 | REAL | delta_phi_11
2998 | delta_phi_12 | REAL | delta_phi_12
3002 | delta_phi_13 | REAL | delta_phi_13
3006 | delta_phi_14 | REAL | delta_phi_14
3010 | delta_phi_15 | REAL | delta_phi_15
3014 | delta_phi_16 | REAL | delta_phi_16
3018 | delta_phi_17 | REAL | delta_phi_17
3022 | delta_phi_18 | REAL | delta_phi_18
3026 | delta_phi_19 | REAL | delta_phi_19
3030 | delta_phi_20 | REAL | delta_phi_20
3034 | delta_phi_21 | REAL | delta_phi_21
3038 | delta_phi_22 | REAL | delta_phi_22
3042 | delta_phi_23 | REAL | delta_phi_23
3046 | delta_phi_24 | REAL | delta_phi_24
3050 | delta_phi_25 | REAL | delta_phi_25
3054 | delta_phi_26 | REAL | delta_phi_26
3058 | delta_phi_27 | REAL | delta_phi_27
3062 | delta_phi_28 | REAL | delta_phi_28
3066 | delta_phi_29 | REAL | delta_phi_29
3070 | delta_phi_30 | REAL | delta_phi_30
3074 | delta_phi_31 | REAL | delta_phi_31
3078 | day_max_angle_1 | REAL | day_max_angle_1
3082 | day_max_angle_2 | REAL | day_max_angle_2
3086 | day_max_angle_3 | REAL | day_max_angle_3
3090 | day_max_angle_4 | REAL | day_max_angle_4
3094 | day_max_angle_5 | REAL | day_max_angle_5
3098 | day_max_angle_6 | REAL | day_max_angle_6
3102 | day_max_angle_7 | REAL | day_max_angle_7
3106 | day_max_angle_8 | REAL | day_max_angle_8
3110 | day_max_angle_9 | REAL | day_max_angle_9
3114 | day_max_angle_10 | REAL | day_max_angle_10
3118 | day_max_angle_11 | REAL | day_max_angle_11
3122 | day_max_angle_12 | REAL | day_max_angle_12
3126 | day_max_angle_13 | REAL | day_max_angle_13
3130 | day_max_angle_14 | REAL | day_max_angle_14
3134 | day_max_angle_15 | REAL | day_max_angle_15
3138 | day_max_angle_16 | REAL | day_max_angle_16
3142 | day_max_angle_17 | REAL | day_max_angle_17
3146 | day_max_angle_18 | REAL | day_max_angle_18
3150 | day_max_angle_19 | REAL | day_max_angle_19
3154 | day_max_angle_20 | REAL | day_max_angle_20
3158 | day_max_angle_21 | REAL | day_max_angle_21
3162 | day_max_angle_22 | REAL | day_max_angle_22
3166 | day_max_angle_23 | REAL | day_max_angle_23
3170 | day_max_angle_24 | REAL | day_max_angle_24
3174 | day_max_angle_25 | REAL | day_max_angle_25
3178 | day_max_angle_26 | REAL | day_max_angle_26
3182 | day_max_angle_27 | REAL | day_max_angle_27
3186 | day_max_angle_28 | REAL | day_max_angle_28
3190 | day_max_angle_29 | REAL | day_max_angle_29
3194 | day_max_angle_30 | REAL | day_max_angle_30
3198 | day_max_angle_31 | REAL | day_max_angle_31
3202 | day_min_angle_1 | REAL | day_min_angle_1
3206 | day_min_angle_2 | REAL | day_min_angle_2
3210 | day_min_angle_3 | REAL | day_min_angle_3
3214 | day_min_angle_4 | REAL | day_min_angle_4
3218 | day_min_angle_5 | REAL | day_min_angle_5
3222 | day_min_angle_6 | REAL | day_min_angle_6
3226 | day_min_angle_7 | REAL | day_min_angle_7
3230 | day_min_angle_8 | REAL | day_min_angle_8
3234 | day_min_angle_9 | REAL | day_min_angle_9
3238 | day_min_angle_10 | REAL | day_min_angle_10
3242 | day_min_angle_11 | REAL | day_min_angle_11
3246 | day_min_angle_12 | REAL | day_min_angle_12
3250 | day_min_angle_13 | REAL | day_min_angle_13
3254 | day_min_angle_14 | REAL | day_min_angle_14
3258 | day_min_angle_15 | REAL | day_min_angle_15
3262 | day_min_angle_16 | REAL | day_min_angle_16
3266 | day_min_angle_17 | REAL | day_min_angle_17
3270 | day_min_angle_18 | REAL | day_min_angle_18
3274 | day_min_angle_19 | REAL | day_min_angle_19
3278 | day_min_angle_20 | REAL | day_min_angle_20
3282 | day_min_angle_21 | REAL | day_min_angle_21
3286 | day_min_angle_22 | REAL | day_min_angle_22
3290 | day_min_angle_23 | REAL | day_min_angle_23
3294 | day_min_angle_24 | REAL | day_min_angle_24
3298 | day_min_angle_25 | REAL | day_min_angle_25
3302 | day_min_angle_26 | REAL | day_min_angle_26
3306 | day_min_angle_27 | REAL | day_min_angle_27
3310 | day_min_angle_28 | REAL | day_min_angle_28
3314 | day_min_angle_29 | REAL | day_min_angle_29
3318 | day_min_angle_30 | REAL | day_min_angle_30
3322 | day_min_angle_31 | REAL | day_min_angle_31
3330 | max_last_motor_current_1 | REAL | max_last_motor_current_1
3334 | max_last_motor_current_2 | REAL | max_last_motor_current_2
3338 | max_last_motor_current_3 | REAL | max_last_motor_current_3
3342 | max_last_motor_current_4 | REAL | max_last_motor_current_4
3346 | max_last_motor_current_5 | REAL | max_last_motor_current_5
3350 | max_last_motor_current_6 | REAL | max_last_motor_current_6
3354 | max_last_motor_current_7 | REAL | max_last_motor_current_7
3358 | max_last_motor_current_8 | REAL | max_last_motor_current_8
3362 | max_last_motor_current_9 | REAL | max_last_motor_current_9
3366 | max_last_motor_current_10 | REAL | max_last_motor_current_10
3370 | max_last_motor_current_11 | REAL | max_last_motor_current_11
3374 | max_last_motor_current_12 | REAL | max_last_motor_current_12
3378 | max_last_motor_current_13 | REAL | max_last_motor_current_13
3382 | max_last_motor_current_14 | REAL | max_last_motor_current_14
3386 | max_last_motor_current_15 | REAL | max_last_motor_current_15
3390 | max_last_motor_current_16 | REAL | max_last_motor_current_16
3394 | max_last_motor_current_17 | REAL | max_last_motor_current_17
3398 | max_last_motor_current_18 | REAL | max_last_motor_current_18
3402 | max_last_motor_current_19 | REAL | max_last_motor_current_19
3406 | max_last_motor_current_20 | REAL | max_last_motor_current_20
3410 | max_last_motor_current_21 | REAL | max_last_motor_current_21
3414 | max_last_motor_current_22 | REAL | max_last_motor_current_22
3418 | max_last_motor_current_23 | REAL | max_last_motor_current_23
3422 | max_last_motor_current_24 | REAL | max_last_motor_current_24
3426 | max_last_motor_current_25 | REAL | max_last_motor_current_25
3430 | max_last_motor_current_26 | REAL | max_last_motor_current_26
3434 | max_last_motor_current_27 | REAL | max_last_motor_current_27
3438 | max_last_motor_current_28 | REAL | max_last_motor_current_28
3442 | max_last_motor_current_29 | REAL | max_last_motor_current_29
3446 | max_last_motor_current_30 | REAL | max_last_motor_current_30
3450 | max_last_motor_current_31 | REAL | max_last_motor_current_31
3454 | max_last_motor_torque_1 | REAL | max_last_motor_torque_1
3458 | max_last_motor_torque_2 | REAL | max_last_motor_torque_2
3462 | max_last_motor_torque_3 | REAL | max_last_motor_torque_3
3466 | max_last_motor_torque_4 | REAL | max_last_motor_torque_4
3470 | max_last_motor_torque_5 | REAL | max_last_motor_torque_5
3474 | max_last_motor_torque_6 | REAL | max_last_motor_torque_6
3478 | max_last_motor_torque_7 | REAL | max_last_motor_torque_7
3482 | max_last_motor_torque_8 | REAL | max_last_motor_torque_8
3486 | max_last_motor_torque_9 | REAL | max_last_motor_torque_9
3490 | max_last_motor_torque_10 | REAL | max_last_motor_torque_10
3494 | max_last_motor_torque_11 | REAL | max_last_motor_torque_11
3498 | max_last_motor_torque_12 | REAL | max_last_motor_torque_12
3502 | max_last_motor_torque_13 | REAL | max_last_motor_torque_13
3506 | max_last_motor_torque_14 | REAL | max_last_motor_torque_14
3510 | max_last_motor_torque_15 | REAL | max_last_motor_torque_15
3514 | max_last_motor_torque_16 | REAL | max_last_motor_torque_16
3518 | max_last_motor_torque_17 | REAL | max_last_motor_torque_17
3522 | max_last_motor_torque_18 | REAL | max_last_motor_torque_18
3526 | max_last_motor_torque_19 | REAL | max_last_motor_torque_19
3530 | max_last_motor_torque_20 | REAL | max_last_motor_torque_20
3534 | max_last_motor_torque_21 | REAL | max_last_motor_torque_21
3538 | max_last_motor_torque_22 | REAL | max_last_motor_torque_22
3542 | max_last_motor_torque_23 | REAL | max_last_motor_torque_23
3546 | max_last_motor_torque_24 | REAL | max_last_motor_torque_24
3550 | max_last_motor_torque_25 | REAL | max_last_motor_torque_25
3554 | max_last_motor_torque_26 | REAL | max_last_motor_torque_26
3558 | max_last_motor_torque_27 | REAL | max_last_motor_torque_27
3562 | max_last_motor_torque_28 | REAL | max_last_motor_torque_28
3566 | max_last_motor_torque_29 | REAL | max_last_motor_torque_29
3570 | max_last_motor_torque_30 | REAL | max_last_motor_torque_30
3574 | max_last_motor_torque_31 | REAL | max_last_motor_torque_31
3616 | actSystemTime | DTL
3624 | NANOSECOND | UDINT
3628 | actLocalTime | DTL
3636 | NANOSECOND | UDINT
3640 | sunrise | DTL
3648 | NANOSECOND | UDINT
3652 | sunset | DTL
3660 | NANOSECOND | UDINT
3664 | daytime | BOOL

## Sheet2
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Word | WORD
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
UInt | UINT
UInt | UINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
USInt | USINT
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
Bool | BOOL
UInt | UINT
UInt | UINT
USInt | USINT
Bool | BOOL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
LReal | LREAL
LReal | LREAL
LReal | LREAL
LReal | LREAL
LReal | LREAL
LReal | LREAL
LReal | LREAL
LReal | LREAL
LReal | LREAL
Time | TIME
Time | TIME
LReal | LREAL
LReal | LREAL
LReal | LREAL
LReal | LREAL
Real | REAL
Bool | BOOL
UInt | UINT
UInt | UINT
Real | REAL
Bool | BOOL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
Real | REAL
DTL | DTL
UDInt | UDINT
DTL | DTL
UDInt | UDINT
DTL | DTL
UDInt | UDINT
DTL | DTL
UDInt | UDINT
Bool | BOOL